## AMJ
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-25 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail | 0:45 | 8:30
|  |  | Receiving samples |  | N/A | sample collection and login | 0:30
|  |  | Data prep before GMP (processing /write up) | CPS-1264 | 13 | process and transcribe ID/P and pH results | 0:45
|  |  | System set up | CPS-1219 | 1 | 19-SL-0037-P | 1:30
|  |  | Sample preparation | CPS-1219 | 1 | 19-SL-0037-P | 0:45
|  |  | Shipping out (samples or other) | CPS-1219 | 10 | prepared shipping; gather oxy std and injections, etc for shipping | 1:30
|  |  | Sample preparation | CPS-1219 | 1 | prep dextrose vial | 0:15
|  |  | GMP review | CPS-1213 | system suitability | reviwed failed CCV sequence | 0:30
|  |  | Shipping out (samples or other) |  | N/A | shipped samples, sent e-mail to Dayton | 0:15
|  |  | Data prep before GMP (processing /write up) |  | 1 | processed oxy | 0:15
|  |  | Receiving samples |  | N/A | sample collection | 0:15
|  |  | Other |  | N/A | Dinner break | 1:00
|  |  | Other |  | N/A | shift turnover, checked/sent e-mails/Data Matrix | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-26 | 2nd | AMJ | Other |  | N/A | Shift turnover, check e-mail | 0:45 | 8:30
|  |  | System set up | CPS-1219 | N/A | condition system | 2:00
|  |  | Sample preparation | CPS-1219 | 20 | N/A | 2:00
|  |  | Receiving samples |  | N/A | sample collection and login | 0:45
|  |  | Shipping out (samples or other) |  | N/A | shipped results to Dayton | 0:15
|  |  | Peer review | CPS-1219 | 20 | JFM sequence | 0:45
|  |  | Other |  | N/A | Dinner break | 1:00
|  |  | Data prep before GMP (processing /write up) | CPS-1219 | 20 | process and transcribed data | 0:45
|  |  | Other |  | N/A | Shift turnover, check e-mail, Data Matrix | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-27 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail, resolve sample quantity issues with Pharmacist | 0:30 | 8:30
|  |  | GMP review | CPS-1213 | 5 | reviewed possible OOL and pH results | 0:45
|  |  | Receiving samples |  | N/A | sample collection and login | 2:00
|  |  | Other |  | N/A | routed 30 oxy for YLi, stamped papers, printed labels | 0:15
|  |  | Shipping out (samples or other) |  | N/A | shipped Vasopressin and Buffered Lidocaine to PPL and results to Dayton | 2:00
|  |  | Receiving samples |  | N/A | sample collection and login | 1:30
|  |  | Other |  | N/A | dinner break | 1:00
|  |  | Matrix data entry and review |  | N/A | entered results into data matrix | 0:15
|  |  | Other |  | N/A | shift turnover, checked e-mail | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-28 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail | 0:45 | 8:30
|  |  | Training- Compliance Wire |  | N/A | N/A | 0:45
|  |  | Sample preparation | CPS-1227 | 3 | Dayton samples, interrupted by SDE to review Oxytocin investigation | 0:30
|  |  | GMP review | CPS-1219 | 3 lots (OV, RV) | N/A | 1:00
|  |  | Training given |  | N/A | to QPL on sample discard | 0:15
|  |  | System set up | CPS-1227 | N/A | N/A | 0:45
|  |  | Sample preparation | CPS-1227 | 3 | Dayton samples | 1:00
|  |  | Receiving samples |  | N/A | sample collection and printing Dayton sample label/shipped routing forms | 0:30
|  |  | Investigative -other |  | 20 | monitored JFM sample prep | 1:00
|  |  | Other |  | N/A | Dinner break | 1:00
|  |  | Data prep before GMP (processing /write up) | CPS-1227 | 3 | processed and transcribed ID/P results, label printing for investigation | 0:45
|  |  | Other |  | N/A | shift turnover, checked e-mail | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-01 | 2nd | AMJ | Receiving samples |  | N/A | sample collection | 0:15 | 8:00
|  |  | Other |  | N/A | shift turnover, checked e-mail, analyst interview for investigation | 0:30
|  |  | Receiving samples |  | N/A | sample login | 0:30
|  |  | GMP review | CPS-1247 | 24 | has corrections, 0.9% diluent not added to sequence-AD made a note | 1:30
|  |  | Receiving samples |  | 3 | Dayton samples and label print | 0:15
|  |  | Receiving samples |  | N/A | sample colleciton and login, Data Matrix | 1:00
[6 empty] | PTO | 2:00
[6 empty] | PTO | 2:00

## QPL
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-25 | 2nd | QPL | Group meeting |  |  | turnover | 0:30 | 8:30
2019-02-25 | 2nd | QPL | other |  |  | checking email, prinout paperwork | 0:30
2019-02-25 | 2nd | QPL | Capacity spreadsheet entry |  |  |  | 0:15
2019-02-25 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-02-25 | 2nd | QPL | Shipping out (samples or other) |  | 10 | prepared, making copies of forms Oxytocin to ship out | 1:00
2019-02-25 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 2:00
2019-02-25 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 2:00
2019-02-25 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 1:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-26 | 2nd | QPL | group meeting |  |  | huddle | 0:30 | 8:30
2019-02-26 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 2:00
2019-02-26 | 2nd | QPL | Troubleshooting of equipment | CPS-1213 |  | weekly maintence; sytem suitability | 2:00
2019-02-26 | 2nd | QPL | receiving samples |  |  | sample coordinating | 2:00
2019-02-26 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-02-26 | 2nd | QPL | Receiving samples |  |  |  | 1:00
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-27 | 2nd | QPL | group meeting |  |  | turn over | 0:30 | 8:30
2019-02-27 | 2nd | QPL | other |  |  | checking emails, print out paperwork | 0:15
2019-02-27 | 2nd | QPL | Troubleshooting of equipment | CPS-1213 |  | AA1 | 1:30
2019-02-27 | 2nd | QPL | other | CPS-1213 |  | system suit | 0:30
2019-02-27 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 2:00
2019-02-27 | 2nd | QPL | Capacity spreadsheet entry |  |  |  | 0:15
2019-02-27 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-02-27 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 2:00
2019-02-27 | 2nd | QPL | Receiving samples |  |  | sample coordinating | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-28 | 2nd | QPL | group meeting |  |  | turnover | 0:30 | 9:00
2019-02-28 | 2nd | QPL | Receiving samples |  |  | sample coordinate | 2:00
2019-02-28 | 2nd | QPL | Capacity spreadsheet entry |  |  |  | 0:15
2019-02-28 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-02-28 | 2nd | QPL | Other |  |  | unloaded lab supplies | 0:30
2019-02-28 | 2nd | QPL | other |  |  | sample disposal log in, brought to warehouse | 2:00
2019-02-28 | 2nd | QPL | other |  |  | sample coordinate | 2:00
2019-02-28 | 2nd | QPL | Training- Compliance Wire |  |  | COMPLIANCEWIRE | 0:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-01 | 2nd | QPL | Group meeting |  |  | turnover | 0:30 | 8:30
2019-03-01 | 2nd | QPL | other |  |  | print out paperwork, prime and purge | 1:00
2019-03-01 | 2nd | QPL | sample preparation | CPS-1237 | 10 | lidocain, waiting for peer review | 2:00
2019-03-01 | 2nd | QPL | other | CPS-1237 | 10 | wait for pH cal review, ph | 1:30
2019-03-01 | 2nd | QPL | other |  |  | lunch | 1:00
2019-03-01 | 2nd | QPL | other |  |  | assist with sample coordianate | 0:30
2019-03-01 | 2nd | QPL | Capacity spreadsheet entry |  |  |  | 0:15
2019-03-01 | 2nd | QPL | other | CPS-1237 | 10 | reporting samples, and pH | 1:45

## TOV
02.25.19-02.27.19 | unscheduled PTO
02.28.19 | Left early at 3.30 pm. Did work upto 3.30pm
03.01.19 | bereavement

## AT
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
02.25.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
02.25.19 | 2nd | Anson | System set up | CPS-1213 | 3 | System suitability on AA2 (2nd CCV failed 105.2%) | 2:00
02.25.19 | 2nd | Anson | Other | CPS-1213 |  | Mg CCV solution | 0:30
02.25.19 | 2nd | Anson | Other | CPS-1213 | 3 | system suitability on AA2 (2nd CCV failed 106.7%) | 2:00
02.25.19 | 2nd | Anson | Housekeeping |  |  | wiping down surfaces (cabinets,keyboards,telephones,work areas,benches) | 1:45
02.25.19 | 2nd | Anson | Housekeeping |  |  | Restocking | 0:45
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
02.26.19 | 2nd | Anson | Other |  |  | Huddle (1330-1400) | 0:30
02.26.19 | 2nd | Anson | Other | CPS-1213 |  | Things done before trying again system suitability on AA2: | 2:00
Done weekly maintenance again(includes cleaning every component with UPW)
changed O ring spray chamber PN:6910037000
Changed Capillary tubing PN:9910024800
Prepared a fresh CCV Solution(other than the one prepared yesterday)
02.26.19 | 2nd | Anson |  | CPS-1213 |  | Troubleshooting: There was backflow of 1% Nitric Acid(fixed by loosening the black knob) | 2:00
Couldnot adjust the speed of flow(Nebuliser was loose inside the compartment, tightened it)
Done disassembly again to make sure everything is good
02.26.19 | 2nd | Anson | System set up | CPS-1213 | 3 | Gas levels were good - Run started | 0:45
Standard 1,2,3 and R value was good,Run was halted because 1st CCV is 107.8%
02.26.19 | 2nd | Anson | Other |  | 8 | pH sample preparation ,calibration and testing of Epinephrine Samples | 1:30
02.26.19 | 2nd | Anson | Other |  |  | Checking email and updating Capacity matrix, discarding pH buffer waste | 0:15
02.26.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
02.27.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
02.27.19 | 2nd | Anson | Other | CPS-1213 | 5 | pH preparation,calibration and testing | 1:45
02.27.19 | 2nd | Anson | Other |  |  | Checking email | 0:30
02.27.19 | 2nd | Anson | Other | CPS-1213 | 5 | Transcribing run information(potency,pH,ID,appearnace) to routing forms | 0:15
02.27.19 | 2nd | Anson | Other | CPS-1247 | 17 | pH calibration and testing of Phenylephrine Samples | 1:30
02.27.19 | 2nd | Anson | Investigative testing - OV, RV | CPS-1213 | 1 | RV 1,2,3 of mg Sulfate OOS, 1st CCV failed:105.4% | 1:30
02.27.19 | 2nd | Anson | Investigative testing - OV, RV | CPS-1213 | 1 | RV 1,2,3 of mg Sulfate OOS, Run passed with both CCV | 1:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
02.28.19 | 2nd | Anson | Other |  |  | huddle | 0:30
02.28.19 | 2nd | Anson | Other |  | 23 | pH sample preparation,calibation and testing of PPL vasopressin | 2:00
02.28.19 | 2nd | Anson | Other |  | 23 | pH sample preparation,calibation and testing of PPL vasopressin | 0:30
02.28.19 | 2nd | Anson | Investigative testing - NP |  | 5 | Three new preparations-NP1,NP2,NP3, % RSD of Std 1 is 6.1 - Run was halted | 2:00
02.28.19 | 2nd | Anson | Investigative testing - NP |  | 5 | NP1(1),NP1(2),NP1(3),NP2(1),NP2(2) ,Run went well | 1:30
02.28.19 | 2nd | Anson | Investigative testing - NP |  | 4 | NP2(3),NP3(1),NP3(2),NP3(3) ,Run went well, OOS Was confirmed. | 1:00
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
03.01.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
03.01.19 | 2nd | Anson | Other | CPS-1247 | 5 | pH sample preparation,calibration and testing of phenylehprine | 1:30
03.01.19 | 2nd | Anson | Other | CPS-1219 | 10 | pH sample preparation,calibration and testing of oxytocin | 2:00
03.01.19 | 2nd | Anson | Other | CPS-1219 | 10 | pH sample preparation,calibration and testing of oxytocin | 0:30
03.01.19 | 2nd | Anson | Housekeeping |  |  | Friday housekeeping:wiping down all counter tops,wiping fume hood,cleaning balance area, | 2:00
[6 empty] | ensured workspaces are clean,ensured area waste bins not overflowing | 1:00
Ensured showers,eyewashes,fire extinguishers,and doors are unblocked with lab materials
ensured computer terminal areas are clear of unnecessary items
turning off AA gas, filing cofA

## JFM
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
2019-02-25 | 2nd | JFM | Other |  |  | Crossover | 0:30
2019-02-25 | 2nd | JFM | Other |  |  | Monitor system suit | 0:30
2019-02-25 | 2nd | JFM | Data prep before GMP (processing /write up) |  |  | Process Oxy inval run/documented | 0:30
2019-02-25 | 2nd | JFM | HOLD - Investigation
2019-02-25 | 2nd | JFM | Training- Compliance Wire |  |  |  | 1:00
2019-02-25 | 2nd | JFM | Glassware wash |  |  |  | 1:00
2019-02-25 | 2nd | JFM | Housekeeping |  |  |  | 1:00
2019-02-25 | 2nd | JFM | Training- Compliance Wire |  |  |  | 1:00
2019-02-25 | 2nd | JFM | Housekeeping |  |  |  | 1:00
2019-02-25 | 2nd | JFM | Receiving samples |  |  | Help with forms, labels, separate lots | 0:30
2019-02-25 | 2nd | JFM | Training- Compliance Wire |  |  |  | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:45
2019-02-26 | 2nd | JFM | Other |  |  | Crossover | 0:30
2019-02-26 | 2nd | JFM | Data prep before GMP (processing /write up) | CPS-1241 | 7 |  | 1:00
2019-02-26 | 2nd | JFM | Data prep before GMP (processing /write up) | CPS-1227 | 8 |  | 1:00
2019-02-26 | 2nd | JFM | Other | CPS-1219 |  | Gather forms, CPS | 0:30
2019-02-26 | 2nd | JFM | Other | CPS-1219 |  | Arrange samples , paperwork | 1:00
2019-02-26 | 2nd | JFM | System set up | CPS-1219 | 20 |  | 0:30
2019-02-26 | 2nd | JFM | Sample preparation | CPS-1219 | 20 | Pull samples into vials. | 1:00
2019-02-26 | 2nd | JFM | Other | CPS-1219 | 20 | Sample set, calculations, paperwork for Oxy | 1:30
2019-02-26 | 2nd | JFM | Housekeeping |  |  |  | 0:30
2019-02-26 | 2nd | JFM | Other | CPS-1219 |  | Monitor system suit | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:45
2019-02-27 | 2nd | JFM | Other |  |  | Crossover | 0:30
2019-02-27 | 2nd | JFM | Other | CPS-1219 |  | Print forms, clean/prepare area | 0:30
2019-02-27 | 2nd | JFM | Sample preparation | CPS-1219 | 20 | Look for spls, put spls/paperwork in order | 1:00
2019-02-27 | 2nd | JFM | Sample preparation | CPS-1219 | 20 | Pull samples into vials | 1:30
2019-02-27 | 2nd | JFM | Other | CPS-1219 | 20 | Sample set , calculations in forms, fill forms | 1:00
2019-02-27 | 2nd | JFM | System set up |  |  |  | 0:45
2019-02-27 | 2nd | JFM | Data prep before GMP (processing /write up) | CPS-1237 | 2 | Process for lido/documented/excel table | 0:45
2019-02-27 | 2nd | JFM | Other |  |  | Help Sabitha to find folder | 0:15
2019-02-27 | 2nd | JFM | Housekeeping |  |  |  | 0:30
2019-02-27 | 2nd | JFM | Capacity spreadsheet entry |  |  |  | 0:15
2019-02-27 | 2nd | JFM | Other | CPS-1219 |  | Monitor system suit | 0:45
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:00
2019-02-28 | 2nd | JFM |  |  |  | Crossover | 0:30
2019-02-28 | 2nd | JFM | Mobile Phase/Buffer/Diluent preparation | CPS-1219 |  |  | 0:30
2019-02-28 | 2nd | JFM | System set up | CPS-1219 |  |  | 0:30
2019-02-28 | 2nd | JFM | Other | CPS-1219 |  | Gather forms, samples | 0:30
371877 | 2nd | JFM | Sample preparation | CPS-1219 | 3 |  | 1:00
2019-02-28 | 2nd | JFM | Other | CPS-1219 |  | Documentation | 0:30
2019-02-28 | 2nd | JFM | Other | CPS-1219 |  | Gather forms, samples | 0:30
2019-02-28 | 2nd | JFM | Other | CPS-1219 | 20 | Labeled samples, paperwork | 1:00
2019-02-28 | 2nd | JFM | System set up | CPS-1219 |  |  | 0:30
2019-02-28 | 2nd | JFM | Sample preparation | CPS-1219 | 20 |  | 1:00
2019-02-28 | 2nd | JFM | Other | CPS-1219 | 20 | Documentation/calculations/sample set prep | 1:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
2019-03-01 | 2nd | JFM |  |  |  | Crossover | 0:30
2019-03-01 | 2nd | JFM | Mobile Phase/Buffer/Diluent preparation | CPS-1219 |  | Mobile phase A Oxy/documented/sonicated | 1:00
2019-03-01 | 2nd | JFM | System set up |  |  |  | 0:30
2019-03-01 | 2nd | JFM | Housekeeping |  |  |  | 1:00
2019-03-01 | 2nd | JFM | Other |  |  | System suit/ forms for Oxy | 0:30
2019-03-01 | 2nd | JFM | Sample preparation | CPS-1219 | 1 | Mings run prepare new spl for dextrose | 0:30
2019-03-01 | 2nd | JFM | Other | CPS-1219 |  |  | 0:30
2019-03-01 | 2nd | JFM | Glassware wash |  |  |  | 1:00
2019-03-01 | 2nd | JFM | Capacity spreadsheet entry |  |  |  | 0:15
2019-03-01 | 2nd | JFM | Other |  |  | Monitor system suit | 0:45
2019-03-01 | 2nd | JFM | Training- Compliance Wire |  |  |  | 1:00

## HN
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-25 | 2nd | HN | Other | CPS-1248 | process and report | 1248SLR_25FEB19_02_INV | 0:30 | 9:00
2019-02-25 | 2nd | HN | Troubleshooting of equipment | CPS-1248 | N/A | Search for baseline shift and noice of UPLCMS | 2:00
2019-02-25 | 2nd | HN | Training- Compliance Wire | CPS-1241 | N/A | Reading and complete training | 1:00
2019-02-25 | 2nd | HN | Glassware wash | CPS-1248 | N/A | N/A | 0:45
2019-02-25 | 2nd | HN | SOP revision | CPS-1219 | Reading | Reading | 0:45
2019-02-25 | 2nd | HN | Glassware wash | CPS-1248 | N/A | N/A | 1:00
2019-02-25 | 2nd | HN | Troubleshooting of equipment | CPS-1248 | Reading | UPLCMS troubleshoot and mainternance | 1:00
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-26 | 2nd | HN | Other | CPS-1248 | process and report | 1248SLR_26FEB19_01_Retest | 0:30 | 7:00
2019-02-26 | 2nd | HN | Other | CPS-1248 | process and report | 1219MTV_26FEB19_01 | 0:45
2019-02-26 | 2nd | HN | Peer review | CPS-1219 | 20 samples | 1219AMJ_26FEB19_01 | 0:45
2019-02-26 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:45
2019-02-26 | 2nd | HN | Troubleshooting of equipment | CPS-1248 | Reading | Search for electron guide of UPLCMS vs baseline issue. | 1:00
2019-02-26 | 2nd | HN | Troubleshooting of equipment | CPS-1248 | Reading | Search for Eliminate baseline problems of UPLCMS | 1:15
2019-02-26 | 2nd | HN | Peer review | CPS-1219 | 20 samples | 1219JFM_26FEB19_01 | 0:45
2019-02-26 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:45
2019-02-26 | 2nd | HN | Training- Compliance Wire | CPS-1241 | N/A | Reading and complete training | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-27 | 2nd | HN | System set up | CPS-1248 | System suitability | 1248HN_27FEB19_01_SS | 2:00 | 7:00
2019-02-27 | 2nd | HN | Other | CPS-1248 | Run system suitability | 1248HN_27FEB19_01_SS | 1:15
2019-02-27 | 2nd | HN | Other | CPS-1248 | Report and process | 1248HN_27FEB19_01_SS | 0:30
2019-02-27 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:45
2019-02-27 | 2nd | HN | Peer review | CPS-1219 | 20 samples | 1219JFM_27FEB19_01 | 1:15
2019-02-27 | 2nd | HN | Other | CPS-1219 | 1219SRL_27FEB19_01 | 1219SRL_27FEB19_01 | 1:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-02-28 | 2nd | HN | Other | CPS-1248 | process and report | 1219SLR_28FEB19_01_INV | 1:15 | 7:30
2019-02-28 | 2nd | HN | Other | CPS-1219 | process and report (20spls) | 1219MTV_28FEB19_01 | 2:00
2019-02-28 | 2nd | HN | Other | CPS-1248 | process and report | 1248Ashy28FEB19_01 | 1:45
2019-02-28 | 2nd | HN | Glassware wash |  | N/A | N/A | 1:00
2019-02-28 | 2nd | HN | Peer review | CPS-1219 | 20 samples | 1219JFM_28FEB19_01 | 1:00
2019-02-28 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-01 | 2nd | HN | Other | CPS-1219 | process and report | 1219SLR_01MAR19_01_INV | 1:00 | 7:00
2019-03-01 | 2nd | HN | Other | CPS-1219 | process and report (20spls) | 1219MTV_01MAR19_01 | 2:00
2019-03-01 | 2nd | HN | Glassware wash |  | N/A | N/A | 1:00
2019-03-01 | 2nd | HN | Receiving samples |  | 9 samples | N/A | 2:00
2019-03-01 | 2nd | HN | Receiving samples |  | 1 samples | N/A | 0:30
2019-03-01 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:30
02.25.19 |  |  | Came@1.55pm

## JTW
02.25.19-03.01.19 | PTO

## SDE
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:30
02.25.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,discussion about waste dumping | 0:45
02.25.19 | 2nd | SDE | Other |  |  | Discussion about waste dumping with Doris and Angelique | 0:15
02.25.19 | 2nd | SDE | Other |  |  | AA investigation conversation with Miriam | 0:15
02.25.19 | 2nd | SDE | Other |  |  | Routing form corrections verification and others | 0:15
02.25.19 | 2nd | SDE | GMP review | CPS-1219 | 7 | UPLC folder review(inv) | 0:30
02.18.19 | 2nd | SDE | Peer review | CPS-1219 | 1 |  | 0:30
02.25.19 | 2nd | SDE | Peer review | CPS-1213 |  | S.S | 0:15
02.25.19 | 2nd | SDE | GMP review | CPS-1248 | 7 |  | 0:45
02.25.19 | 2nd | SDE | Other |  |  | Supervisory duties ,capacity matrix shipping review and others | 2:00
02.25.19 | 2nd | SDE | Other |  |  | Lunch | 1:00
02.25.19 | 2nd | SDE | GMP review | CPS-1219 | 1 | UPLC folder review (inv)- new pre | 0:30
02.25.19 | 2nd | SDE | GMP review | CPS-1264 | 13 | UPLC folder review and routing forms | 1:00
02.25.19 | 2nd | SDE | Other |  |  | Shift turn over , matrix etc | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
9:45
02.26.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,Going through Oxytocin samples,About AA | 0:30
02.26.19 | 2nd | SDE | Other |  | NA | Discussion about what to do when Analyst on Hold, reading CPS, AA inv and instrument trouble shooting , Reagent prep 8 Review | 0:45
02.26.19 | 2nd | SDE | Other |  | S.S | AA inv and instrument trouble shooting discussion, Reagent prep 8 Review | 0:30
02.26.19 | 2nd | SDE | GMP review | CPS-1237 | 11 | UPLC folder and routing forms Review | 1:30
02.26.19 | 2nd | SDE | GMP review | CPS-1219 | 5 | UPLC folder and routing forms Review, to get clarification about associated lots testing | 1:00
02.26.19 | 2nd | SDE | Other | CPS 1219 | 20 | JFM sample prep monitoring | 1:00
02.26.19 | 2nd | SDE | Other |  |  | Helping Hnguyen to find sample | 0:30
02.26.19 | 2nd | SDE | Other |  |  | Lunch | 1:00
02.26.19 | 2nd | SDE |  |  |  | PH calibration, log book review | 0:30
02.26.19 | 2nd | SDE |  | CPS-1241 | 7 | PH data ,Potency and routing form review | 1:00
02.26.19 | 2nd | SDE |  | CPS-1241 | 7 | Turn over and capacity matrix | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
6:30
02.27.19 | 2nd | SDE | Other |  |  | Verifying emails,checking what people are doing | 0:15
02.27.19 | 2nd | SDE | GMP review corrections |  |  | Disscusion about AA inv, PH calibration review and other supervisory duties | 0:45
02.27.19 | 2nd | SDE | GMP review | CPS-1219 | 20 | Potency and routing forms review | 1:45
02.27.19 | 2nd | SDE | GMP review | CPS-1219 | 20 | JFM sample prep monitoring | 1:00
02.27.19 | 2nd | SDE | GMP review | CPS-1213 | S.S | Folder review*2 | 0:45
02.27.19 | 2nd | SDE | Other |  |  | Shipping samples Review | 0:30
02.27.19 | 2nd | SDE | Other |  |  | Lunch | 0:30
02.27.19 | 2nd | SDE | GMP review | CPS-1237 | 2 | Potency and routing form review,looking for connecting folder | 0:45
02.27.19 | 2nd | SDE | Other |  |  | Shift turn over and other handover | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
9:00
02.28.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work, emails and others | 1:15
02.28.19 | 2nd | SDE | Other |  |  | Verifying samples in ASC and removing from bench/Cabinet | 0:45
02.28.19 | 2nd | SDE | Other |  |  | Ph log books reviewing and handover to QA | 1:00
02.28.19 | 2nd | SDE | Other | CPS-1219 | 3 | JFM sample prep monitoring | 0:15
02.28.19 | 2nd | SDE | Other | CPS-1219 | 20 | Oxytocin UPLC folder and routing forms reviewing | 2:00
02.28.19 | 2nd | SDE | GMP review | CPS-1213 | 3 | Monitoring AT sample prep for Mg Inv | 0:45
02.28.19 | 2nd | SDE |  |  |  | Lunch | 1:00
02.28.19 | 2nd | SDE | Other |  |  | Capacity matrix, supervisory responsibilities | 0:45
02.28.19 | 2nd | SDE | Other |  |  | Turn over and other responsibilities | 0:30
02.28.19 | 2nd | SDE | Other | CPS-1213 | 3 | Inv folder review | 0:15
02.28.19 | 2nd | SDE | Other |  | 3 | UPLC folder( VASOPRESSIN) | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
9:00
03.01.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,Reviewing corrections, going through the samples , emails, talking to HR etc( TOV) | 1:00
03.01.19 | 2nd | SDE | GMP review | CPS-1219 | 20 | Oxytocin folder- Aborted folder | 1:30
03.01.19 | 2nd | SDE | Other |  |  | Verify Epinephrine Dayton samples which PH testing was not done | 1:00
03.01.19 | 2nd | SDE | GMP review | CPS-1227 | 1 | Inv folder review | 0:30
03.01.19 | 2nd | SDE | GMP review | CPS-1247 | 6 | Reviewing UPLC run ,PH and routing forms | 0:45
03.01.19 | 2nd | SDE | Other |  |  | Lunch | 0:30
03.01.19 | 2nd | SDE | Other |  |  | RPB8 review | 0:15
03.01.19 | 2nd | SDE | Peer review | CPS-1219 | 20 | Peer Review | 0:30
03.01.19 | 2nd | SDE | GMP review |  |  | PH sample data review ,calibration, calibration book review | 1:00
03.01.19 | 2nd | SDE | Other |  |  | Matrix,Friday cleanining and shut down etc | 0:30
03.01.19 | 2nd | SDE | GMP review | CPS-1219 | 6 | Investigation folder | 1:00
03.01.19 | 2nd | SDE | Other |  |  | Capacity matrix | 0:30
02.27.19 |  |  | came@3pm