## AMJ
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-25 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail | 0:45 | 8:30
|  |  | GMP review corrections | CPS-1227 | N/A | N/A | 0:15
|  |  | Sample/solution disposal |  | N/A | retention sample discard | 2:00
|  |  | Shipping out (samples or other) |  | N/A | reviewed shipping for JTW | 0:15
|  |  | Sample/solution disposal |  | N/A | retention sample discard | 1:15
|  |  | Other |  | N/A | farewell for MNA/dinner break, stamp papers | 1:00
|  |  | Sample/solution disposal |  | N/A | retention sample discard | 2:00
|  |  | Other |  | N/A | dinner break | 0:30
|  |  | Sample/solution disposal |  | N/A | checked e-mail, finalized retention sample documents | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-26 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail, stamped papers | 0:45 | 8:30
|  |  | Data prep before GMP (processing /write up) | CPS-1248 | 3 | processed associated lots | 0:30
|  |  | GMP review | CPS-1237 | 3 | STB sequence (needs corrections) | 0:45
|  |  | Matrix data entry and review | CPS-1237 | 3 | entered data and routed in ASC | 0:15
|  |  | GMP review | CPS-1241 | 4 | JAQ sequence (needs corrections) | 1:00
|  |  | Matrix data entry and review | CPS-1241 | 4 | entered data and routed in ASC/transferred 1st shift info into matrix | 0:30
|  |  | Matrix data entry and review | CPS-1227 | 2 | entered data for dayton samples | 0:15
|  |  | GMP review |  | N/A | reviewed SL RPB8 for accuracy and completeness | 0:30
|  |  | Receiving samples |  | N/A | sample collection | 0:15
|  |  | GMP review | CPS-1241 | 4 | JFM sequence | 0:45
|  |  | Other |  | N/A | dinner break | 1:00
|  |  | GMP review | CPS-1009 | N/A | pH calibration for JFM and TOV, stamped papers | 0:15
|  |  | GMP review | CPS-1241 | N/A | pH data for JFM | 0:15
|  |  | GMP review | CPS-1241 | N/A | reviewed routing forms (pH and appearance) for JFM sequence | 0:15
|  |  | GMP review |  | N/A | reviewed SL RPB8 for accuracy and completeness | 0:30
|  |  | Matrix data entry and review | CPS-1241 | 4 | entered data and routed forms in ASC | 0:15
|  |  | Other |  | N/A | shift turnover | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-27 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail | 0:45 | 8:30
|  |  | GMP review corrections |  | N/A | JAQ and STB sequence | 0:15
|  |  | Matrix data entry and review |  | N/A | entered data and routed forms in ASC | 0:15
|  |  | GMP review | CPS-1009 | PPL samples (6) | reviewed pH data for JAQ | 0:15
|  |  | GMP review |  | PPL samples (6) | N/A | 0:15
|  |  | Matrix data entry and review |  | N/A | entered data and routed forms in ASC | 0:15
|  |  | GMP review | CPS-1009 | 4 | reviewed pH data for W.B | 0:15
|  |  | GMP review | CPS-1237 | 4 | pending corrections from W.B/DTD/DAV/Yli | 1:15
|  |  | Matrix data entry and review |  | N/A | entered data and routed forms in ASC | 0:15
|  |  | GMP review | CPS-1009 | 10 | reviewed pH data for AT | 0:15
|  |  | Matrix data entry and review | CPS-1241 | 4 | entered data and routed forms in ASC | 0:15
|  |  | Matrix data entry and review | CPS-1241 | 7 | entered data and routed forms in ASC | 0:15
|  |  | Matrix data entry and review | CPS-1227 | 6 (dayton) | entered data and prepared for shipping | 0:15
|  |  | Matrix data entry and review | CPS-1247 | 4 | entered data and routed forms in ASC | 0:15
|  |  | Peer review | CPS-1248 | N/A | HN sequence | 0:15
|  |  | Other |  | N/A | celebration for SDE | 0:30
|  |  | GMP review | CPS-1219 | 20 | MTV sequence | 1:00
|  |  | Other |  | N/A | dinner break | 0:30
|  |  | GMP review | CPS-1219 | 20 | MTV sequence | 0:30
|  |  | Other |  | N/A | shift turnover, checked e-mail | 0:30
|  |  | GMP review corrections | CPS-1237 | 4 | reviewed corrections made by W.B/DTD | 0:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-28 | 2nd | AMJ | Other |  | N/A | shift turnover, checked e-mail, stamped papers | 0:45 | 9:00
|  |  | GMP review corrections | CPS-1237 | 4 | DAV/W.B sequence | 0:15
|  |  | GMP review | CPS-1009 | N/A | pH calibrationfor AT (2 calibrations) | 0:15
|  |  | GMP review corrections | CPS-1219 | 20 | MTV sequence | 0:15
|  |  | GMP review | CPS-1219 | OV, RV | MTV investigation sequence | 0:30
|  |  | GMP review | CPS-1009 | 1 | pH data for AT (QN sequence - before transcription) | 0:15
|  |  | GMP review | CPS-1240 | 4 | W.B sequence | 0:45
|  |  | GMP review | CPS-1241 | 7 | J.O.R. sequence (ID/Potency) | 0:45
|  |  | GMP review | CPS-1009 | 8 | pH data for AT (DAV sequence) | 0:15
|  |  | GMP review | CPS-1247 | 5 | pH data for AT (QPL sequence) | 0:15
|  |  | GMP review | CPS-1248 | 1 | pH data for AT (QN sequence - after transcription) | 0:15
|  |  | GMP review | CPS-1264 | system suitability | W.B sequence | 0:15
|  |  | GMP review | CPS-1241 | 7 | pH data for AT (J.O.R. sequence - before and after transcription) | 0:30
|  |  | Other |  | N/A | dinner break | 1:00
|  |  | Matrix data entry and review | CPS-1219 | 31 | entered data for investigation 19-SL-0037-P | 1:15
|  |  | Matrix data entry and review |  | N/A | entered data and routed in ASC (CPS-1240 & CPS-1248) | 1:00
|  |  | Other |  | N/A | shift turnover, checked e-mail | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-29 | 2nd | AMJ | Training- Hands on |  | N/A | pipette training and documentation | 1:00 | 8:30
|  |  | Other |  | N/A | shift turnover, checked e-mail | 0:30
|  |  | Training- Compliance Wire |  | N/A | N/A | 0:30
|  |  | GMP review | CPS-1009 | N/A | reviewed calibration for AT | 0:15
|  |  | GMP review corrections |  | N/A | N/A | 0:15
|  |  | GMP review | CPS-1219 | OV, RV | investigation 19-SL-0052 (MTV sequence) | 0:30
|  |  | GMP review | CPS-1219 | system suitability | MTV sequence | 0:15
|  |  | GMP review | CPS-1227 | 4 | reviewed pH data for AT/TOV before transcription | 0:15
|  |  | GMP review | CPS-1227 | 4 | ID/Potency/pH results after transcription | 0:45
|  |  | Matrix data entry and review |  | N/A | entered data and routed in ASC (including Oxy investigation samples) | 1:30
|  |  | Peer review | CPS-1213 | 2 | for AT sequence | 0:15
|  |  | Matrix data entry and review |  | N/A | entered data and routed in ASC | 1:00
|  |  | Other |  | N/A | dinner break | 0:45
|  |  | GMP review | CPS-1213 | 2 | AT sequence (possible OOL) | 0:45

## QPL
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-25 | 2nd | QPL | Group meeting |  |  | turnover | 0:30 | 8:30
2019-03-25 | 2nd | QPL | Capacity spreadsheet entry |  |  | entering data | 0:15
2019-03-25 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-03-25 | 2nd | QPL | Sample preparation | CPS-1241 | 5 | prep samples(NaCl), pullling for pH | 1:15
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | filling out paperwk, calculated volume of bags, entering datas into empower | 1:00
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | wait for peer review by HN | 0:30
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | prime and purging system | 0:15
2019-03-25 | 2nd | QPL | Sample preparation | CPS-1241 | 3 | prep samples(Dex), pullling for pH | 0:45
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | filling out paperwk, calculated volume of bags, entering datas into empower | 0:45
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | wait for peer review by HN | 0:15
2019-03-25 | 2nd | QPL | other | CPS-1241 |  | prime and purging system | 0:30
2019-03-25 | 2nd | QPL | other | CPS-1241 | 5 | processing and reporting run | 0:45
2019-03-25 | 2nd | QPL | other | CPS-1241 | 3 | processing and reporting run | 0:30
2019-03-25 | 2nd | QPL | Training- Compliance Wire |  |  | compliancewire | 0:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-26 | 2nd | QPL | Group meeting |  |  | turn over | 0:30 | 8:30
2019-03-26 | 2nd | QPL | Training- Hands on |  |  | pipette trainning | 1:30
2019-03-26 | 2nd | QPL | other |  |  | checking email, prinout pwk, time stamp | 0:15
2019-03-26 | 2nd | QPL | Sample preparation | CPS-1213 | 3 | sample prep, pulling for pH | 1:00
2019-03-26 | 2nd | QPL | other | CPS-1213 |  | set up instrument, cleaned burner head, prepared CCV, std, upw | 1:00
2019-03-26 | 2nd | QPL | other | CPS-1213 | 3 | waiting for peer review, started run, reporting run | 1:45
2019-03-26 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-03-26 | 2nd | QPL | Capacity spreadsheet entry |  |  | entering data | 0:15
2019-03-26 | 2nd | QPL | other | CPS-1213 | 3 | pH calibration, waiting for review | 0:15
2019-03-26 | 2nd | QPL | other | CPS-1213 | 3 | pH | 0:30
2019-03-26 | 2nd | QPL | other |  |  | micropippette practice | 0:30
2019-03-26 | 2nd | QPL
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-27 | 2nd | QPL | Training- Classroom |  |  | agilent trainning | 2:00 | 11:15
2019-03-27 | 2nd | QPL | Training- Classroom |  |  | agilent trainning | 2:00
2019-03-27 | 2nd | QPL | Training- Classroom |  |  | agilent trainning | 2:00
2019-03-27 | 2nd | QPL | Training- Classroom |  |  | agilent trainning | 2:00
2019-03-27 | 2nd | QPL | Training- Classroom |  |  | agilent trainning | 0:30
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-28 | 2nd | QPL | Group meeting |  |  | turnover | 0:30 | 8:30
2019-03-28 | 2nd | QPL | Training- Hands on |  |  | pippette training | 2:00
2019-03-28 | 2nd | QPL | other | CPS-1237 |  | system suit for Doris | 0:15
2019-03-28 | 2nd | QPL | other |  |  | checking email, printing out paperwk | 0:15
2019-03-28 | 2nd | QPL | Sample preparation | CPS-1247 | 5 | prep samples, pulling for pH | 1:00
2019-03-28 | 2nd | QPL | Troubleshooting of equipment |  |  | growth on MP, washing UPLC08 with 50:50 ACN:UPW | 1:15
2019-03-28 | 2nd | QPL | other |  |  | prime and purge, entering datas into empower, and paperwk | 1:00
2019-03-28 | 2nd | QPL | other |  |  | lunch and breaks | 1:00
2019-03-28 | 2nd | QPL | Capacity spreadsheet entry |  |  | entering data | 0:15
2019-03-28 | 2nd | QPL | other | CPS-1237 | 8 | processed and transcribed from 1st shift | 0:30
2019-03-28 | 2nd | QPL | other | CPS-1247 | 5 | processed and transcribed | 0:15
2019-03-28 | 2nd | QPL | other |  |  | entering data for second shift update | 0:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-29 | 2nd | QPL | Group meeting |  |  | turnover | 0:30 | 8:30
2019-03-29 | 2nd | QPL | other |  |  | checking email, printing out paperwk | 0:15
2019-03-29 | 2nd | QPL | Sample preparation | CPS-1247 | 10 | sample prep, pulling for pH | 1:45
2019-03-29 | 2nd | QPL | other | CPS-1247 |  | entering data into paperwk, and empower | 0:30
2019-03-29 | 2nd | QPL | other | CPS-1247 |  | priming and purging system, waiting for peer review | 1:00
2019-03-29 | 2nd | QPL | other |  |  | lunch and breaks | 0:30
2019-03-29 | 2nd | QPL | Capacity spreadsheet entry |  |  | entering data | 0:30
2019-03-29 | 2nd | QPL | other |  |  | entering data for second shift update matrix | 0:30
2019-03-29 | 2nd | QPL | other | CPS-1247 | 10 | processed and reported run | 1:00
2019-03-29 | 2nd | QPL | other | CPS-1237 |  | pH calibration, waiting for review,pH for mobile phase | 0:45
2019-03-29 | 2nd | QPL | Training- Compliance Wire |  |  | compliancewire | 0:30
2019-03-29 | 2nd | QPL | other | CPS-1241 | 10 | peer-review | 0:45

## AT
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
03.25.19 | 2nd | Anson | Other |  |  | Huddle and checking email | 1:00
03.25.19 | 2nd | Anson | Sample preparation | CPS-1237 | 3 | pH sample preparation,calibration and testing of Lidocaine samples | 0:45
03.25.19 | 2nd | Anson | Other | CPS-1264 | 3 | pH calibration and testing of Diltiazem samples | 0:30
03.25.19 | 2nd | Anson | Other | CPS-1241 | 5 | pH testing of Norepinephrine Nacl samples | 0:45
03.25.19 | 2nd | Anson | Other | CPS-1240 | 2 | pH testing of Neostigmine samples | 0:30
03.25.19 | 2nd | Anson | Other | CPS-1241 | 3 | pH calibration and testing of Norepinephrine in dextrose samples | 0:45
03.25.19 | 2nd | Anson | Other |  |  | IT guy was working on computer,which says there is no driver | 0:45
03.25.19 | 2nd | Anson | Other |  |  | Discarding Phenylephrine,epinephrine,diltiazem samples into white container and logging into | 1:30
03.25.19 | 2nd | Anson |  |  |  | waste log book,discarding 0.1% FA in water,UPLC Deathmix,pH buffer waste and logging
03.25.19 | 2nd | Anson | Other |  |  | Soaking the samples glasswares in soapy water | 0:30
03.25.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:00
03.27.19 | 2nd | Anson |  |  |  | Agilent seminar
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
03.27.19 | 2nd | Anson | Other |  |  | Huddle (1330-1400) | 0:30
03.27.19 | 2nd | Anson | Other |  |  | Email checking | 0:30
03.27.19 | 2nd | Anson | Other |  | 10 | Sample preparation for testing pH of oxytocin samples | 1:00
03.27.19 | 2nd | Anson | Other |  |  | pH calibration | 0:15
03.27.19 | 2nd | Anson | Other |  |  | check std failed upon testing | 0:15
03.27.19 | 2nd | Anson | Other |  |  | pH calibration was done again | 0:30
03.27.19 | 2nd | Anson | Other |  | 10 | pH testing of oxytocin samples | 0:45
03.27.19 | 2nd | Anson | Sample preparation |  | 3 | sample preparation for sodium Citrate samples | 0:30
03.27.19 | 2nd | Anson | System set up | CPS-1215 |  | Pre Run,cleaning the burner head with lapping film and Nitric Acid | 0:30
03.27.19 | 2nd | Anson | Other |  |  | Checking gas levels,equilibrate,flowrate,optimization,run | 0:45
03.27.19 | 2nd | Anson | Other | CPS-1215 |  | preparing pH samples,calibration and testing pH | 0:45
03.27.19 | 2nd | Anson | Other |  |  | Sabitha surprise birthday party | 0:45
03.27.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
03.28.19 | 2nd | Anson | Other |  |  | Huddle (1330-1400) | 0:30
03.28.19 | 2nd | Anson | Other | CPS-1248 | 1 | Vasopressin pH sample preparation,pH calibration and testing (pH 2.5-4.5) | 0:45
03.28.19 | 2nd | Anson | Other | CPS-1241 | 7 | Norepinephrine pH samples testing (pH 3.0-5.8) | 0:45
03.28.19 | 2nd | Anson | Other | CPS-1237 | 8 | Lidocaine pH sample preparation,pH calibration and testing (pH 5.0-7.0) | 1:30
03.28.19 | 2nd | Anson | Other | CPS-1247 | 5 | pH calibration and testing of Phenylephrine samples (pH 3.0-6.5) | 0:45
03.28.19 | 2nd | Anson | Other | CPS-1240 | 5 | pH testing of Neostigmine samples (pH 5.0-6.5) | 0:45
03.28.19 | 2nd | Anson | Other |  |  | Email checking | 0:45
03.28.19 | 2nd | Anson | Other |  |  | discarding and logging samples,pH buffer wastes | 1:15
03.28.19 | 2nd | Anson | Other |  |  | Huddle | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
7:30
03.29.19 | 2nd | Anson | Other |  |  | Huddle (1330-1400) | 0:30
03.29.19 | 2nd | Anson | Other |  |  | Cleaning ,washing and drying glasswares | 1:45
03.29.19 | 2nd | Anson |  | CPS-1227 | 4 | pH calibration,testing of Epinephrine samples | 0:30
03.29.19 | 2nd | Anson |  | CPS-1247 | 10 | pH testing of Phenylephrine samples | 0:45
03.29.19 | 2nd | Anson | Other | CPS-1213 | 2 | Mg sulfate sample preparation | 0:30
03.29.19 | 2nd | Anson | Other | CPS-1213 | 2 | pre Run checking ,flowrate,optimization ,Run.. | 0:45
03.29.19 | 2nd | Anson | Other |  |  | Cleaning ,wiping whole lab benches,fume Hood, turning off AA gas | 1:45
03.29.19 | 2nd | Anson | Other |  |  | logging samples before discarding | 0:45
03.29.19 | 2nd | Anson | Other |  |  | Friday Housekeeping | 0:15

## TOV
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-25 | 2nd | TOV | Group meeting |  |  | Turnover | 0:15 | 16:15
2019-03-25 | 2nd | TOV | Other |  |  | Emails, checking folders for corrections | 0:45
2019-03-25 | 2nd | TOV | System set up | CPS-1237 | 3 | UPLC 07 | 0:15
2019-03-25 | 2nd | TOV | Sample preparation | CPS-1237 | 3 | Dilutions | 1:00
2019-03-25 | 2nd | TOV | Other | CPS-1237 | 3 | Empower Set-Up | 0:30
2019-03-25 | 2nd | TOV | GMP review | CPS-1264 |  | Weak Needle Wash | 0:15
2019-03-25 | 2nd | TOV | Other |  |  | Pumping (1 session + 3 failures due to room being used) | 0:30
2019-03-25 | 2nd | TOV | Data prep before GMP (processing /write up) | CPS-1237 | 3 | Processing, transcribing, calculation ID | 1:00
2019-03-25 | 2nd | TOV | GMP review |  |  | pH Calibration Curve | 0:15
2019-03-25 | 2nd | TOV | Other |  |  | Lunch | 1:00
2019-03-25 | 2nd | TOV | GMP review | CPS-1264 | 3 |  | 1:00
2019-03-25 | 2nd | TOV | GMP review | CPS-1241 | 3 | pH results | 0:15
2019-03-25 | 2nd | TOV | GMP review | CPS-1264 | 3 | pH results | 0:15
2019-03-25 | 2nd | TOV | Group meeting |  |  | Turnover | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-26 | 2nd | TOV | Group meeting |  |  | Turnover | 0:15 | 8:30
2019-03-26 | 2nd | TOV | Other |  |  | Emails and HR portal | 0:30
2019-03-26 | 2nd | TOV | System set up | CPS-1241 | 7 | uplc10 | 0:30
2019-03-26 | 2nd | TOV | Sample preparation | CPS-1241 | 7 | Bag Volume and Calculations | 0:45
2019-03-26 | 2nd | TOV | Sample preparation | CPS-1241 | 7 | Dilutions | 1:00
2019-03-26 | 2nd | TOV | Other | CPS-1241 | 7 | Empower Set-Up | 0:30
2019-03-26 | 2nd | TOV | Peer review | CPS-1241 |  | Saline | 0:30
2019-03-26 | 2nd | TOV | Other |  |  | Pumping (1 session) | 0:30
2019-03-26 | 2nd | TOV | GMP review | CPS-1213 | 3 | pH results | 0:30
2019-03-26 | 2nd | TOV | Other |  |  | Lunch | 1:00
2019-03-26 | 2nd | TOV | Other | CPS-1241 | 7 | pH Calibration | 0:15
2019-03-26 | 2nd | TOV | Other | CPS-1241 | 7 | pH Test | 0:45
2019-03-26 | 2nd | TOV | Data prep before GMP (processing /write up) | CPS-1241 | 7 | Processing and transcribing | 0:45
2019-03-26 | 2nd | TOV | GMP review | CPS-1247 |  | Standards | 0:15
2019-03-26 | 2nd | TOV | GMP review | CPS-1247 | 3 |  | 0:15
2019-03-26 | 2nd | TOV | Group meeting |  |  | Turnover | 0:15
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-27 | 2nd | TOV | Group meeting |  |  | Turnover | 0:15 | 8:30
2019-03-27 | 2nd | TOV | Training- Hands on |  |  | Pipettes | 1:45
2019-03-27 | 2nd | TOV | Data prep before GMP (processing /write up) | CPS-1219 | 20 | Processing, Transcribing Potency | 1:15
2019-03-27 | 2nd | TOV | Data prep before GMP (processing /write up) | CPS-1219 | 20 | Transcribing pH | 1:00
2019-03-27 | 2nd | TOV | Other |  |  | Pumping (2 sessions) | 0:30
2019-03-27 | 2nd | TOV | GMP review |  |  | pH Calibration | 0:15
2019-03-27 | 2nd | TOV | GMP review | CPS-1264 | 2 | OV, RV | 0:30
2019-03-27 | 2nd | TOV | GMP review | CPS-1241 | 8 |  | 0:45
2019-03-27 | 2nd | TOV | Other |  |  | Lunch | 0:30
2019-03-27 | 2nd | TOV | Other |  |  | Practicing Pipeting | 1:00
2019-03-27 | 2nd | TOV | Sample preparation | CPS-1241 |  | System Suit for UPLC08 | 0:30
2019-03-27 | 2nd | TOV | Other |  |  | Empower Set Up | 0:15
Date | Shift | Analyst | Activity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-29 | 2nd | TOV | Group meeting |  |  | Turnover | 0:30 | 8:30
2019-03-29 | 2nd | TOV | Other |  |  | Emails, paperwork before preping | 0:30
2019-03-29 | 2nd | TOV | Mobile Phase/Buffer/Diluent preparation | CPS-1227 | 4 | Strong Neddle Wash | 0:15
2019-03-29 | 2nd | TOV | Other |  |  | Signing stamps | 0:15
2019-03-29 | 2nd | TOV | System set up | CPS-1227 | 4 | uplc 08 | 0:15
2019-03-29 | 2nd | TOV | Sample preparation | CPS-1227 | 4 |  | 1:00
2019-03-29 | 2nd | TOV | Other | CPS-1227 | 4 | Empower Set-Up | 0:30
2019-03-29 | 2nd | TOV | GMP review |  |  | SLRPB9 Book | 0:45
2019-03-29 | 2nd | TOV | GMP review corrections |  |  | SLRPB8 Book | 1:00
2019-03-29 | 2nd | TOV | Sample/solution disposal |  |  | Cleanning Cabinet, disposing samples (log them in) | 1:30
2019-03-29 | 2nd | TOV | Other | CPS-1227 |  | Processing and transcribing Run | 1:00
2019-03-29 | 2nd | TOV | Other |  |  | Lunch | 0:45
2019-03-29 | 2nd | TOV | Other |  |  | Pumping (1 session) | 0:15

## HN
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-25 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30 | 8:45
2019-03-25 | 2nd | HN | Glassware wash |  | N/A | N/A | 1:00
2019-03-25 | 2nd | HN | System set up |  | Wash and equilibrate system | UPLC 09 | 2:00
2019-03-25 | 2nd | HN | Peer review | CPS-1237 | 3 Samples | 1237TOV_25MAR19_01 | 0:45
2019-03-25 | 2nd | HN | Peer review | CPS-1241 | 8 samples | 1241QPL_25MAR19_01 | 0:45
2019-03-25 | 2nd | HN | Sample preparation | CPS-1240 | 2 Samples | 1240HN_25MAR_19_01 | 1:00
2019-03-25 | 2nd | HN | Peer review | CPS-1241 | 4 samples | 1241QPL_25MAR19_02 | 0:45
2019-03-25 | 2nd | HN | Glassware wash |  | N/A | N/A | 0:30
2019-03-25 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30
2019-03-25 | 2nd | HN | Other |  | 30 samples, disposals | help Alex to complete samples disposal | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-26 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30 | 7:00
2019-03-26 | 2nd | HN | Glassware wash |  | N/A | N/A | 1:30
2019-03-26 | 2nd | HN | Standard preparation | CPS-1247 | Stock and standards | phenylephrine | 2:00
2019-03-26 | 2nd | HN | Sample preparation | CPS-1247 | 4 Samples | 1247HN_26MAR19_01 | 1:30
2019-03-26 | 2nd | HN | Glassware wash |  | N/A | N/A | 1:00
2019-03-25 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-27 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30 | 9:15
2019-03-27 | 2nd | HN | Glassware wash |  | wash pipettes and glassware | N/A | 1:00
2019-03-27 | 2nd | HN | Standard preparation | CPS-1248 | standard1 and 2 | 1248HN_27MAR19_01 | 1:00
2019-03-27 | 2nd | HN | Sample preparation | CPS-1248 | 5 Samples | 1248HN_27MAR19_01 | 1:00
2019-03-27 | 2nd | HN | System set up | CPS-1248 | Wash column, equilibrate system | UPLC QDa01 | 2:00
2019-03-27 | 2nd | HN | Glassware wash |  | wash glassware | N/A | 1:00
2019-03-27 | 2nd | HN | Other | CPS-1248 | 5 samples | Process and report result | 0:45
2019-03-27 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-28 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30 | 7:30
2019-03-28 | 2nd | HN | Glassware wash |  | wash glassware | N/A | 1:00
2019-03-28 | 2nd | HN | System set up | CPS-1219 | Wash column, equilibrate system | UPLC QDa06 | 2:00
2019-03-28 | 2nd | HN | Peer review | CPS-1240 | 4 samples of Neostigmine | 1240TOV_28MAR19_01 | 0:45
2019-03-28 | 2nd | HN | Peer review | CPS-1241 | 8 samples of Phenylephrine | 1241QPL_28MAR19_01 | 0:45
2019-03-28 | 2nd | HN | Mobile Phase/Buffer/Diluent preparation | CPS-1248 | Vasopressin | Strong needle wash | 0:30
2019-03-28 | 2nd | HN | Other | CPS-1248 | process and report | 1219HN_28MAR19_01_INV | 0:30
2019-03-28 | 2nd | HN | Glassware wash |  | wash glassware | N/A | 1:00
2019-03-28 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
2019-03-29 | 2nd | HN | Group meeting |  | N/A | N/A | 0:30 | 7:30
2019-03-29 | 2nd | HN | Glassware wash |  | wash glassware | N/A | 1:00
2019-03-29 | 2nd | HN | System set up | CPS-1241 | 10 Samples | 1241HN_29MAR19_01 | 2:00
2019-03-29 | 2nd | HN | Glassware wash |  | wash glassware | N/A | 1:00
2019-03-29 | 2nd | HN | Housekeeping |  | N/A | Waste container | 1:00
2019-03-29 | 2nd | HN | Glassware wash |  | wash glassware | Pippet and glassware | 2:00

## JTW
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
03.25.19 | 2nd | Jahson Watson | Capacity spreadsheet entry |  |  |  | 0:15 | 7:30
|  |  | Group meeting |  |  | Turn Over | 0:30
|  |  | Shipping out (samples or other) |  |  |  | 1:45
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Matrix data entry and review |  |  |  | 0:30
0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
03.26.19 | 2nd | Jahson Watson | Capacity spreadsheet entry |  |  |  | 0:15 | 7:30
|  |  | Group meeting |  |  | Turn Over | 0:30
|  |  | Receiving samples |  |  |  | 1:45
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Matrix data entry and review |  |  |  | 0:30
|  |  | Sample/solution disposal |  |  |  | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
03.27.19 | 2nd | Jahson Watson | Capacity spreadsheet entry |  |  |  | 0:15 | 7:30
|  |  | Group meeting |  |  | Turn Over | 0:30
|  |  | Receiving samples |  |  |  | 1:45
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Obtaining new sample from warehouse |  |  |  | 0:30
|  |  | Receiving samples |  |  |  | 1:30
|  |  | Matrix data entry and review |  |  |  | 0:30
|  |  | Sample/solution disposal |  |  |  | 0:30
03.28.19 |  | Need to send capacity matrix
03.29.19 |  | Need to send capacity matrix

## SDE
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:30
03.25.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,Going through samples, Talking to Anna/Alexz | 0:45
03.25.19 | 2nd | SDE | Other |  |  | Quynh's - two result set issue | 1:00
03.25.19 | 2nd | SDE | GMP review | CPS-1009 |  | PH data review *3 folders | 0:45
03.25.19 | 2nd | SDE | GMP review | CPS-1219 | 14 | Oxy Investigation UPLC folder review | 1:00
03.25.19 | 2nd | SDE | Other |  |  | Supervisory Responsibilities and others | 0:30
03.25.19 | 2nd | SDE | Other |  |  | Removing samples from cabinet ,going through the folders in the tray, working with IT person regarding printer issue | 1:30
03.25.19 | 2nd | SDE | Other |  |  | Lunch | 1:00
03.25.19 | 2nd | SDE | Other |  |  | PH calibration and UPLC log books , RPB8 review | 1:00
03.25.19 | 2nd | SDE | Other |  |  | Matrix and turn over | 0:30
[6 empty] | Talking to Miriam, Watson | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:30
03.26.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,Going through samples,emails etc | 0:30
03.26.19 | 2nd | SDE | Other |  |  | HN - wrong seq named issue | 0:15
03.26.19 | 2nd | SDE | GMP review |  |  | RPB8 Review and other | 0:45
03.26.19 | 2nd | SDE | GMP review |  |  | Vasopressin UPLC folder *3 runs | 1:15
03.26.19 | 2nd | SDE | Peer review | CPS-1215 | 3 |  | 0:30
03.26.19 | 2nd | SDE | Other |  |  | Reading SOP/ Training | 0:30
03.26.19 | 2nd | SDE | Other |  |  | Follow up the work with people, observing people' s pace of work etc | 1:00
03.26.19 | 2nd | SDE | GMP review corrections |  |  |  | 0:15
03.26.19 | 2nd | SDE |  |  |  | Verifying log books/folders for Millipore, Oven, Pipette , balance ,removing expired chemicals etc | 0:45
|  |  | GMP review | CPS-1009 | 7 | Ph data review/ corrections | 0:30
03.26.19 | 2nd | SDE |  |  |  | Lunch | 1:00
03.26.19 |  |  |  | CPS-1215 | 3 | Folder | 0:45
[6 empty] | Turn over, matrix and others | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
8:30
03.27.19 | 2nd | SDE | Other |  |  | Shift turn over, Assigning work,Going through samples,emails etc | 0:30
03.27.19 | 2nd | SDE |  |  |  | Pipette verification -Review | 0:30
03.27.19 | 2nd | SDE |  |  |  | Talking to Doris , Teri about Pipette verification | 1:00
03.27.19 | 2nd | SDE |  |  |  | Review of calibration curve and helping Anson about documentation and Review of RPB8 | 1:00
03.27.19 | 2nd | SDE |  |  |  | Discussing with Angelique and Anna | 0:30
03.27.19 | 2nd | SDE |  |  |  | Finding pipette information(helping Angelique) | 0:30
03.27.19 | 2nd | SDE |  |  |  | Supervisory responsibilities and others | 1:00
03.27.19 | 2nd | SDE |  |  |  | SOP reading | 1:00
03.27.19 | 2nd | SDE |  |  |  | Anna's project | 2:00
03.27.19 | 2nd | SDE |  |  |  | Turn over and matrix | 0:30
Date | Shift | Analyst | Activiity | Method | Number of Samples | Notes | Time | Total Time per Day
6:00
03.28.19 | 2nd | SDE |  |  |  | Shift turn over, Assigning work,Going through samples,emails etc | 0:30
03.28.19 | 2nd | SDE |  | CPS-1264 | 9 | uplc Inv folder + manual calculation | 2:00
03.28.19 | 2nd | SDE |  |  |  | Discusion with Doris -Lidocaine comaparison calculation | 0:15
03.28.19 | 2nd | SDE |  |  |  | Discussion with Doris -Pipette training, QPL training | 0:15
03.28.19 | 2nd | SDE |  |  |  | Pipette verification - Review / corrections | 1:00
03.28.19 | 2nd | SDE |  |  |  | Sending emails and supervisory responsibilties | 1:45
03.28.19 | 2nd | SDE |  |  |  | QPL training for shift update email | 0:15
03.28.19 |  |  | Left early @7.30pm
03.29.19 |  |  | PTO